## Sheet1
Suffolk County Council - Drainage proforma for SW Aspects of Planning Applications
DO NOT PRINT... Appropriate parts of sheet 1 and all of sheet 2 to be completed, starting at top left of sheet1. Yellow cells to be completed by applicant or agent. Most cells have drop down boxes and guidance. Required data will vary, depending on previous answers. Amber cells warn of possible error, lack of required information, non compliance with policies or standards or where special considerations /information may be required. Red cells indicate missing information required for detailed applications . Purple Cells indicate missing information required for outline or detailed applications.
Form completed for Developer/applicant by (name) |  | Date |  | Contact email or telephone
Form checked for LPA by |  | Date |  | Ref No.
Form checked for SCC Floods by |  | Date
District council |  |  | Site Name
Total Site area (ha) |  |  | Address |  |  |  | Major app?
Number of homes |  |  | Road |  |  |  | FALSE
Commercial area (ha) |  |  | Town
Commercial built area (ha) |  |  | County | Suffolk |  |  | FALSE
Area of POS (ha) |  |  | When was the last pre-app discussion with SCC Floods team? |  |  |  | FALSE
Existing land status |  |  | Is a complete FRA included in the application? |  |  |  | Minor
Highest Ground level ( m AOD) |  |  | EA Flood Zone(s)
Lowest ground level (m AOD) |  |  | Does adjacent existing highway drain into the site?
Is site at risk of SW flooding?
| Carry on filling in form. SCC Floods team will be consulted | [5 empty] | FALSE
RUNOFF DESTINATION (where proposed SW drainage from site will discharges to)
| scroll down to complete appropriate cells | Sea or Estuary | Ground (Infiltration) | SW Body | Existing SWS, highway drain or another drainage system | Existing Combined Sewer
Is Site next to Estuary or coast?
Will the site be drained directly to sea or estuary? |  |  | Fill in cells in this column below
SOIL TYPE
Have on site ground investigations been undertaken?
Is a ground investigation report included in application?
Recommendation from GI Report regarding soakaways - Are conditions suitable?
Number of test pits that soakage tests were undertaken in.
Number of test pits with completed test to BRE365
Are field sheets, test results and calculations included in application?
Min Infiltration rate from tests (mm/Hr)
Max infiltration rate from tests (mm/Hr)
Is infiltration type drainage proposed?
Go to next column
Name / Location of SW Body
Reasons (if any) for not draining to a surface water body
Will SW be discharged to a surface water body?
Carry on down column
Type of existing SW piped drainage system
Description / Location of SW drainage system
Reason 1 for not draining to SWS, highway drain
Reason 2 for not draining to SWS , highway drain
Will SW be discharged to an existing piped SW drainage system?
Carry on down column
Fill appropriate column (s) (usually one only) for proposed destination
Existing impermeable area
Proposed Impermeable area
Method for calculating allowable discharges, existing or Green field flows
Peak discharge rate to destination
100 Year return period allowable discharge to SW or combined sewer agreed by AW or SCC (l/sec)
| 1 year return period | Existing (l/sec)
Proposed with CC & creep (l/sec)
| 100 year return period | Existing ( l/sec)
Proposed with CC & creep (l/sec)
|  | Proposed per ha (l/sec/ha) |  | #DIV/0! | #DIV/0!
Critical duration (minutes)
Proposed minimum throttle(s) aperture (mm)
Attenuation storage provided to limit peak flow (at critical duration)
| Volume control | Required if proposed discharge > 2 l/sec/Ha in 100 Yr RP (see BS8582 5.2.2.4)
Volume of runoff in 6 Hr duration event (cubic metres)
100 Year RP existing
100 Year RP + CC +creep proposed
Additional capacity provided in SUDs to control volume
Water quality (WQ)
Reasons ( if any) for not followng best practise for WQ:
During construction period
Permanent
Proposed permament WQ SUDS:
Volume of proposed treatment pond (Vt) expressed as mm of rain over the impermeable areas on the site.
Depth of rain intercepted (refer to SUDS manual ) expressed as mm of rain over the impermeable areas on the site
| Calculated maximum intercepted volume |  |  | 0 | 0 |  | pink cells should be hidden
Volume intercepted (cubic metres)
| Calculated reduced att and volume control requirement |  |  | 0 | 0
| Capacity of proposed attenuation & volume control SuDs ( can be reduced by interception volume) | [5 empty] | set av depth
| Area of site taken up by proposed SuDs | [5 empty] | 0.4
Are calculations and drawings included demonstrating there is sufficient and appropriate space for the proposed SUDS volume within the layout?
Go to Sheet 2

## Sheet2
Boxes below to be completed for all SW Systems
Proposed SW Drainage system
Extent of open SuDS
Go to management & maintenance
Does application include justification for not using open SUDS?
Is pumping of SW proposed?
Does application include justification for pumping?
Management and maintenance arrangements
Is a management plan included in the application?
Life time for plan and maintenance costs
Discount rate normally 3.5%
Proposed SW drainage maintenance bodies | Proposals for ensuring owners are aware of their SW drainage & maintenance requirements
Owner (for drainage serving single property)
Progress with setting up maintenance arrangements
Please indicate who will maintain what | Location of SuDs elements
SuD elements | Private gardens or commercial land | Roads, verges and /or footways | Parking areas | POS | Other eg Mews court
Vegetation, trees, shrubs etc | Owner
Permeable paving. | Owner
Rills | Owner
Open SuDS - Erosion protection, De-silting, headwalls,dividing walls | Owner
Open SuDS - Bollards or fencing | Owner
Shallow pipes throttles/headwalls at driveway crossings over swales.
Shallow pipes throttles / headwalls @ road crossings over swales
Litter picking including clearing grates and grilles | Owner
Gully Grates -repairs & replacement | Owner
Gully pots, connection pipes | Owner
Highway carrier drains
Soakaways | Owner
Oil or petrol interceptors | Owner
Underground attenuation tanks | Owner
Surface Water Sewer
Other - please state
Other - please state
Availabilty of 3.5m wide access for SuDs maintenance -
Design flood return period for:
Buildings
Gardens (unless designated to store water)
Roads
Design for blockage and /or Exceedance
Are exceedance routes/ storage areas for 100 year RP event shown on submitted layout plan(s) including proposed floor and ground levels, buildings and roads.
SuDS details that are most likely to affect layout and maintenance
Maximum depth of open SuDS (mm)
Maximum depth of water in open SuDS in 100 Year RP (mm)
Steepest side slope of open SuDS (1 vertical in x horizontal)
Steepest longintudinal gradient of any swales.
Are any buildings < 5m of open SUDS or undergr'd soakaways?
if yes describe location(s)
Special protective measures
means of access/repair SUDs
Health and Safety - public and maintenance operatives
Are Designers CDM Health and Safety Plan included?
Structural Integrity
Have Structural design and specification details been provided for:
Pipes -BS EN, Class, strength calcs including bed and surround.
Tanks - including geocells / fabric surround
Manholes BS EN, size, type etc (SFA 7th edition)
Headwalls, dividing walls, bunds & slope stabilty.
Other Information normally required (not exhaustive)
Are design calculations provided, cross-referenced to drawing(s -also provided) showing catchments and layout of SuDs, roads, footways and buildings?
Are landscaping /planting details shown on drawing(s) provided showing SuDS, and development layout?
Are details of SuDS including inlets, outlets, dividing walls, erosion control measures shown on provided plans.
Are extents of adoption by each body shown on drawings provided?
Is a completed copy of SCC's Asset register sheet provided?

## dropdowns (hidden)
Valid DCs | what about sites spanning 2-3 DCs?
Babergh
Mid Suffolk
Waveney
West Suffolk – ( Forest Heath & St Edmundsbury)
Ipswich
Suffolk Coastal
Landstatus
Green Field
Brown Field
Mixed green & brown
Devtype |  | Date of last meeting with SCC floods team
Residential |  | None
Commercial |  | within past month
Mixed |  | within past year
Other |  | within past 2 years
>2 years ago
floodzones
Fz1
Fz2 tidal | What about functional fllood plain fz3a and fz3b?
Fz3 tidal
Fz2 fluvial
Fz3 fluvial
ValidYN |  | Does highway drainage enter site?
Yes |  | Yes to ditch on site
No |  | Yes to soakaway on site
Yes onto ground in site
Yes to highway drain across site
Sea or Estuary |  | No - site is highe
Sea
Estuary
Neither
SOIL
1
2
3
4
5
not used
Recommendations for soakaways
1. No - Groundwater too high
2. No - Infiltration < 10mm/Hr
3. No - Soil instabilty or contamination
4. No - too close to well or borehole (SPZ)
5. No - permeable strata too deep
6. No - too close to steep slope
7. Suitable for perm paving only
8. Suitable for infiltration on part of site only
9. Suitable for infiltration drainage
Highway soakaway locations (not used)
Underground soakaways in highway verges
Underground soakaways in Public Open Space
Road side swales
Infiltration basin in POS
Other
Other
Is Infiltration proposed?
Yes
No
for part of site only
Rasonsfor not draining to SW water body
Too far by gravity
Difficulty securing access, permission or consents
Unacceptable environmental impact
Contrary to Local SWMP
Contrary to Local Flood Risk Management Strategy
Costs
Other
Will SW drain to SW body?
Yes
No
Part of site direct to SW body
Reasons for not draining to SWS, Highway Drain or other drain?
Too far by gravity
Difficulty securing access, permission or consents
Unacceptable environmental impact
Contrary to Local SWMP
Contrary to Local Flood Risk Management Strategy
Costs
Capacity
Structural condition
Unable to establish structural condition or capacity
Other
Will SW drain to SWS, Highway drain, or other drain?
Yes
No
Part of site
Types of SW drainage system
Surface water sewer- adopted by AW
Surface water sewer- not adopted by AW
Highway drain
Piped watercourse
Other
Methods for estimating greenfield flows |  | Reasons for not using best practise SUDS for Water Quality
IH124 using SOIL |  | 1. Environmental impact assessment concluded WQ Suds were not necessary
FEH statistical method |  | 2. Environment Agency confirmed WQ Suds were not necessary
ReFH method |  | 3. River basin mangement plan does not require WQ SuDS
Anglian Water prescribed. |  | 4. .Other - please state
5. WQ SUDS are proposed.
Descriptions of proposed SUDS
1. 100% open - ie: no pipes, no underground storage or soakaways
2. Open + some permeable paving
3. Open + pipes at road and drive crossings + perhaps some perm paving
4. Underground pipes + soakaways + some surface storage + perhaps perm paving
5. Underground pipes + soakways + perhaps perm paving
6. Underground pipes + end of pipe open storage ponds.
7. Underground pipes + tanks +some surface flood storage
8. No open SuDs
Potential maintenance bodies |  | Maintenance bodies chosen by applicant (from sheet2)
SCC Highways |  | n/a
District Council |  | 0
Manage. Co. |  | 0
A.W. |  | 0
IDB |  | 0
Owners -shared |  | 0
Other |  | 0
Adoption bodies for drainage crossing private land
Manage. Co.
AW
IDB
Owner
0
0
0
Maintenance arrangemenst for private SUDS
Homebuyers pack and individual drainage plan for each purchaser
Homebuyers pack and deeds to include plan for private drainage
Other -please state
Adoption stages
1. Proposed adopting body has not been contacted
2. Expression of interest sent to adopting body but no comments received
3. Proposals for management co. not included in application
4. Proposed adopting body refused to adopt
5. Partial approval from proposed adopting body
6. Proposed adopting body has confirmed intent to adopt
7. Adopting body has approved drainage for adoption subject to construction & inspections
8. Draft Agreement included with application
9. Proposals for management co. included in application
Maintenance access
1. 3.5m wide access available to all proposed SuDS
2. 3.5m wide access available to all SuDS apart from limited access to private SUDS in gardens
3. 3.5m wide access available to some proposed SUDS
4. 3.5m wide acess not availabe to any proposed SuDS
5. other -please state